## Monthly Electricity (Overview)
Period | CLP Total | Main Academic Buildings & Other Public Facilities | EC | CYT | Shaw Auditorium | APCF (R/F Zone L) | New Data Centre (2/F Zone L) | Main Chiller Plant | LSKBB | IAS | Conference Lodge | LSK Hostel | LSK Chiller Plant | WWT | Water Sport Centre | SISC | HPC5 | RB2 | IB | SRD (UG10-13) | TA-B | GGT | Student Housing UG1-UG9, PG1-PG2 | Staff Quarters & Commercial Outlets | Commercial Outlets | Staff Quarters | Combined Chiller Plants | TKO JC Hall | EC 3/F Data Centre (Elect) | EC 3/F Data Centre (Chiller kWhe) | SRD (Chiller kWhe) | IB (Chiller kWhe) | BMW EV Charger kWh (LG7 & WWT) | Corner Stone EV Charger kWh | TEST BUILDING 1 | TEST BUILDING 2 | On-Campus Buildings 12-Month Rolling Sum | Total + TKOJCH | On-Campus Buildings Monthly Total | Monthly Total + TKOJCH
2014-01-01 | 5938547 | 3924710 | 190811 | 41274 | 0 | 0 | 0 | 500427 | 205345 | 44678 | 0 | 0 | 48446 | 59654 | 0 | 0 | [5 empty] | 0 | 361571 | 561631 | 229909 | 331722 | 548873 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-02-01 | 5888877 | 3565612 | 252064 | 28315 | 0 | 0 | 0 | 502155 | 290449 | 56447 | 0 | 0 | 47613 | 47313 | 0 | 0 | [5 empty] | 0 | 504993 | 593916 | 220164 | 373752 | 549768 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-03-01 | 6018786 | 3680694 | 185065 | 40257 | 0 | 0 | 0 | 754593 | 182485 | 34491 | 0 | 0 | 46854 | 43566 | 0 | 0 | [5 empty] | 0 | 511265 | 539516 | 247766 | 291750 | 801447 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-04-01 | 7488350 | 4459315 | 203049 | 56946 | 0 | 0 | 0 | 1100944 | 213938 | 46284 | 0 | 0 | 141417 | 73814 | 0 | 0 | [5 empty] | 0 | 612777 | 579866 | 295835 | 284031 | 1242361 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-05-01 | 7986119 | 3816523 | 345876 | 89452 | 0 | 0 | 0 | 1749797 | 224043 | 103456 | 0 | 0 | 170062 | 82044 | 0 | 0 | [5 empty] | 0 | 692230 | 712636 | 281303 | 431333 | 1919859 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-06-01 | 8876152 | 4173507 | 250379 | 92936 | 0 | 0 | 0 | 2204099 | 250703 | 71494 | 0 | 0 | 273139 | 97780 | 0 | 0 | [5 empty] | 0 | 574711 | 887404 | 266840 | 620564 | 2477238 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-07-01 | 9340526 | 4361073 | 221804 | 97729 | 0 | 0 | 0 | 2443732 | 225313 | 48903 | 0 | 0 | 246402 | 109439 | 0 | 0 | [5 empty] | 0 | 687729 | 898402 | 274134 | 624268 | 2690134 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  |  | New building: after 2014
2014-08-01 | 8583907 | 3673176 | 228122 | 146934 | 0 | 0 | 0 | 2460070 | 232978 | 53454 | 0 | 0 | 275655 | 99316 | 0 | 0 | [5 empty] | 0 | 624042 | 790160 | 264880 | 525280 | 2735725 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0 |  |  |  |  | Old building: before 2014
2014-09-01 | 10023872 | 4469625 | 276014 | 132812 | 0 | 0 | 0 | 2515785 | 269881 | 79871 | 0 | 0 | 307475 | 89352 | 0 | 0 | [5 empty] | 0 | 956639 | 926418 | 311968 | 614450 | 2823260 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-10-01 | 8035429 | 4049333 | 203926 | 145929 | 0 | 0 | 0 | 1763222 | 248622 | 39903 | 0 | 0 | 153059 | 89097 | 0 | 0 | [5 empty] | 0 | 708839 | 633499 | 297097 | 336402 | 1916281 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-11-01 | 6858052 | 3872340 | 214292 | 95091 | 0 | 0 | 0 | 1119362 | 267023 | 50426 | 0 | 0 | 153510 | 76299 | 0 | 0 | [5 empty] | 0 | 532301 | 477408 | 276436 | 200972 | 1272872 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2014-12-01 | 6405579 | 3982954 | 253212 | 117318 | 0 | 0 | 0 | 548769 | 246466 | 71670 | 0 | 0 | 67209 | 55450 | 0 | 0 | [5 empty] | 0 | 483170 | 579361 | 281511 | 297850 | 615978 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-01-01 | 6037637 | 3908677 | 195665 | 99565 | 0 | 0 | 0 | 544141 | 233787 | 42271 | 0 | 0 | 40400 | 48517 | 0 | 0 | [5 empty] | 0 | 377084 | 547530 | 262207 | 285323 | 584541 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-02-01 | 5695515 | 3489436 | 224244 | 114195 | 0 | 0 | 0 | 515349 | 235819 | 56423 | 0 | 0 | 52158 | 49783 | 0 | 0 | [5 empty] | 0 | 470725 | 487383 | 247789 | 239594 | 567507 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-03-01 | 6808373 | 4118527 | 218508 | 125033 | 0 | 0 | 0 | 822631 | 265435 | 53193 | 0 | 0 | 66141 | 74567 | 0 | 0 | [5 empty] | 0 | 503575 | 560763 | 302505 | 258258 | 888772 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-04-01 | 7375395 | 4123782 | 205482 | 172615 | 0 | 0 | 0 | 1230463 | 237697 | 54391 | 0 | 0 | 110064 | 97242 | 0 | 0 | [5 empty] | 0 | 593115 | 550544 | 303017 | 247527 | 1340527 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-05-01 | 8190535 | 3697825 | 220809 | 203655 | 0 | 0 | 0 | 2094261 | 212132 | 49088 | 0 | 0 | 186711 | 72445 | 0 | 0 | [5 empty] | 0 | 777496 | 676113 | 293556 | 382557 | 2280972 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-06-01 | 9712387 | 4414578 | 239524 | 194738 | 0 | 0 | 0 | 2544609 | 280980 | 129946 | 0 | 0 | 255852 | 111119 | 0 | 0 | [5 empty] | 0 | 589036 | 952005 | 302993 | 649012 | 2800461 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-07-01 | 8834027 | 3840527 | 216309 | 224950 | 0 | 0 | 0 | 2507656 | 217810 | 77610 | 25769 | 0 | 212246 | 90399 | 0 | 0 | [5 empty] | 0 | 636984 | 783767 | 277550 | 506217 | 2719902 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-08-01 | 8681882 | 3336768 | 260880 | 198008 | 0 | 0 | 0 | 2564183 | 268478 | 71460 | 134760 | 0 | 252328 | 107250 | 0 | 0 | [5 empty] | 0 | 680006 | 807761 | 278196 | 529565 | 2816511 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-09-01 | 9954396 | 4633259 | 234187 | 228598 | 0 | 0 | 0 | 2359914 | 263450 | 56020 | 135352 | 0 | 222957 | 84622 | 0 | 0 | [5 empty] | 0 | 887878 | 848159 | 338617 | 509542 | 2582871 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-10-01 | 8352722 | 4009560 | 212948 | 252642 | 0 | 0 | 0 | 1873529 | 247453 | 52867 | 131511 | 0 | 179183 | 77686 | 0 | 0 | [5 empty] | 0 | 705699 | 609644 | 309456 | 300188 | 2052712 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-11-01 | 8050995 | 4200888 | 229804 | 304409 | 0 | 0 | 0 | 1464223 | 278579 | 45990 | 146949 | 0 | 173483 | 65641 | 0 | 0 | [5 empty] | 0 | 587552 | 553477 | 318937 | 234540 | 1637706 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2015-12-01 | 6493453 | 3614603 | 290741 | 333130 | 0 | 0 | 0 | 690904 | 285264 | 65483 | 103943 | 0 | 90243 | 79484 | 0 | 0 | [5 empty] | 0 | 453971 | 485687 | 282739 | 202948 | 781147 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-01-01 | 6245223 | 3831763 | 139048 | 277210 | 0 | 0 | 0 | 516685 | 242251 | 42075 | 122690 | 0 | 50559 | 78005 | 0 | 0 | [5 empty] | 0 | 377458 | 567479 | 259474 | 308005 | 567244 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-02-01 | 6466884 | 3779412 | 298078 | 343984 | 0 | 0 | 0 | 406263 | 294647 | 45944 | 117026 | 0 | 48852 | 37408 | 0 | 0 | [5 empty] | 0 | 487805 | 607465 | 272882 | 334583 | 455115 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-03-01 | 6613470 | 3972874 | 204423 | 276509 | 0 | 0 | 0 | 553500 | 237417 | 58069 | 81220 | 0 | 57570 | 60129 | 0 | 0 | [5 empty] | 0 | 547267 | 564492 | 289377 | 275115 | 611070 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-04-01 | 7584721 | 4018970 | 215813 | 296537 | 0 | 0 | 0 | 1283919 | 271059 | 49082 | 118821 | 0 | 135895 | 63059 | 0 | 0 | [5 empty] | 0 | 558826 | 572740 | 308674 | 264066 | 1419814 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-05-01 | 8730352 | 3773707 | 263078 | 405553 | 0 | 0 | 0 | 1964154 | 277527 | 71026 | 204440 | 0 | 241532 | 102506 | 0 | 0 | [5 empty] | 0 | 728971 | 697858 | 320173 | 377685 | 2205686 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-06-01 | 9791945 | 4046518 | 274465 | 503779 | 0 | 0 | 0 | 2672172 | 247180 | 48151 | 162606 | 0 | 204368 | 87014 | 0 | 0 | [5 empty] | 0 | 649314 | 896378 | 301989 | 594389 | 2876540 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-07-01 | 9168714 | 3655670 | 171816 | 346896 | 0 | 0 | 0 | 2679758 | 241218 | 56433 | 183048 | 0 | 231512 | 89776 | 0 | 0 | [5 empty] | 0 | 701641 | 810946 | 285596 | 525350 | 2911270 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-08-01 | 9494610 | 3873088 | 267163 | 515939 | 0 | 0 | 0 | 2450437 | 296189 | 70401 | 187636 | 0 | 253271 | 98211 | 0 | 0 | [5 empty] | 0 | 706214 | 776061 | 313559 | 462502 | 2703708 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-09-01 | 9481784 | 4228883 | 247221 | 400844 | 0 | 0 | 0 | 2315953 | 260266 | 58317 | 155062 | 0 | 205585 | 86794 | 0 | 0 | [5 empty] | 0 | 809354 | 713505 | 333329 | 380176 | 2521538 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-10-01 | 8039061 | 3320287 | 244358 | 301842 | 0 | 0 | 0 | 2065366 | 252484 | 59236 | 143725 | 0 | 191013 | 67897 | 0 | 0 | [5 empty] | 0 | 828064 | 564789 | 295061 | 269728 | 2256379 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-11-01 | 8258064 | 4405647 | 269652 | 561953 | 0 | 0 | 0 | 1190430 | 309914 | 74983 | 137244 | 0 | 161352 | 68587 | 0 | 0 | [5 empty] | 0 | 531267 | 547035 | 351124 | 195911 | 1351782 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2016-12-01 | 6468025 | 3593398 | 239740 | 398980 | 0 | 0 | 0 | 761395 | 261691 | 59003 | 108647 | 0 | 86111 | 51534 | 0 | 0 | [5 empty] | 0 | 463216 | 444310 | 303998 | 140312 | 847506 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-01-01 | 5525573 | 3099589 | 214435 | 370050 | 0 | 0 | 0 | 618875 | 233523 | 46449 | 99324 | 0 | 55694 | 41576 | 0 | 0 | [5 empty] | 0 | 337896 | 408162 | 243772 | 164390 | 674569 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-02-01 | 6826525 | 4036987 | 254971 | 430923 | 0 | 0 | 0 | 526051 | 277051 | 57162 | 104695 | 0 | 58566 | 46491 | 0 | 0 | [5 empty] | 0 | 498147 | 535481 | 308838 | 226643 | 584617 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-03-01 | 6883831 | 3870515 | 248895 | 445814 | 0 | 0 | 0 | 740508 | 295298 | 58107 | 92166 | 0 | 72031 | 46835 | 0 | 0 | [5 empty] | 0 | 500980 | 512682 | 317794 | 194888 | 812539 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-04-01 | 6688335 | 3328654 | 212465 | 375876 | 0 | 0 | 0 | 1194038 | 235542 | 49717 | 105608 | 0 | 123848 | 51501 | 0 | 0 | [5 empty] | 0 | 556388 | 454698 | 278250 | 176448 | 1317886 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-05-01 | 8137565 | 3720289 | 252700 | 428220 | 0 | 0 | 0 | 1738362 | 282988 | 64509 | 160553 | 0 | 193845 | 68219 | 0 | 0 | [5 empty] | 0 | 660533 | 567347 | 318068 | 249279 | 1932207 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-06-01 | 9514271 | 4066105 | 258022 | 446908 | 0 | 0 | 0 | 2500352 | 267111 | 70932 | 204894 | 0 | 240351 | 86736 | 0 | 0 | [5 empty] | 0 | 611695 | 761165 | 307686 | 453479 | 2740703 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-07-01 | 8243086 | 3001369 | 231436 | 384666 | 0 | 0 | 0 | 2544886 | 241317 | 62499 | 192870 | 0 | 223983 | 82519 | 0 | 0 | [5 empty] | 0 | 700584 | 576957 | 212800 | 364157 | 2768869 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-08-01 | 9842261 | 4031396 | 275532 | 493213 | 0 | 0 | 0 | 2551418 | 296187 | 74921 | 248922 | 0 | 278456 | 82128 | 0 | 0 | [5 empty] | 0 | 722301 | 787787 | 241411 | 546376 | 2829874 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-09-01 | 9512976 | 3773479 | 258590 | 442915 | 0 | 0 | 0 | 2600804 | 288653 | 60546 | 207848 | 0 | 265391 | 71953 | 0 | 0 | [5 empty] | 0 | 787739 | 755058 | 247909 | 507149 | 2866195 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-10-01 | 8514444 | 3744126 | 270654 | 452584 | 0 | 0 | 0 | 1841190 | 292092 | 63022 | 183095 | 0 | 217543 | 42173 | 0 | 0 | [5 empty] | 0 | 803446 | 604519 | 246432 | 358087 | 2058733 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-11-01 | 7261986 | 3933330 | 249042 | 421911 | 0 | 0 | 0 | 1084163 | 284103 | 55715 | 122475 | 0 | 126984 | 29219 | 0 | 0 | [5 empty] | 0 | 512053 | 442991 | 271273 | 171718 | 1211147 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2017-12-01 | 5970850 | 3266116 | 230252 | 430229 | 0 | 0 | 0 | 611381 | 273022 | 56181 | 119923 | 0 | 73274 | 29061 | 0 | 0 | [5 empty] | 0 | 469420 | 411991 | 234655 | 177336 | 684655 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-01-01 | 6340475 | 3715383 | 255100 | 462317 | 0 | 0 | 0 | 511044 | 277806 | 57343 | 115237 | 0 | 61658 | 26266 | 0 | 0 | [5 empty] | 0 | 326074 | 532247 | 267046 | 265201 | 572702 | 0 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-02-01 | 6010872 | 3437800 | 218539 | 418582 | 0 | 0 | 0 | 439104 | 229353 | 59346 | 112008 | 0 | 44948 | 24999 | 0 | 0 | [5 empty] | 0 | 436736 | 589457 | 272614 | 316843 | 484052 | 83562 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-03-01 | 6466521 | 3450924 | 266749 | 428068 | 0 | 0 | 0 | 808368 | 298704 | 42758 | 101870 | 0 | 87607 | 22757 | 0 | 0 | [5 empty] | 0 | 471104 | 487612 | 306197 | 181415 | 895975 | 70345 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-04-01 | 7476752 | 3890381 | 238376 | 450705 | 0 | 0 | 0 | 1208521 | 275522 | 52528 | 124604 | 0 | 137799 | 21167 | 0 | 0 | [5 empty] | 0 | 538438 | 538711 | 333892 | 204819 | 1346320 | 80484 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-05-01 | 8980797 | 3663428 | 275700 | 506370 | 0 | 0 | 0 | 2176575 | 304399 | 60569 | 183261 | 0 | 224034 | 35915 | 0 | 16340 | [5 empty] | 0 | 738822 | 795384 | 342020 | 453364 | 2400609 | 116361 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-06-01 | 8345430 | 3243600 | 230102 | 463971 | 0 | 0 | 0 | 2314940 | 265718 | 74569 | 191322 | 0 | 226980 | 23888 | 0 | 8379 | [5 empty] | 0 | 551495 | 750466 | 296584 | 453882 | 2541920 | 97157 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-07-01 | 9163876 | 3596301 | 269714 | 448922 | 0 | 0 | 0 | 2556472 | 246603 | 84978 | 217407 | 0 | 246683 | 37883 | 0 | 12527 | [5 empty] | 0 | 638211 | 808175 | 301748 | 506427 | 2803155 | 70578 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-08-01 | 9264802 | 3681107 | 221923 | 513076 | 0 | 0 | 0 | 2576284 | 280930 | 84295 | 181347 | 0 | 248971 | 36067 | 0 | 8409 | [5 empty] | 0 | 612321 | 820072 | 314766 | 505306 | 2825255 | 85341 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-09-01 | 8549475 | 3388624 | 222460 | 448695 | 0 | 0 | 0 | 2177118 | 269617 | 68024 | 147015 | 0 | 204451 | 23465 | 0 | 16958 | [5 empty] | 0 | 804200 | 778848 | 322443 | 456405 | 2381569 | 97245 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-10-01 | 8134959 | 3908089 | 246334 | 488440 | 0 | 0 | 0 | 1485329 | 305093 | 67677 | 138871 | 0 | 167478 | 22031 | 0 | 85312 | [5 empty] | 0 | 584651 | 635654 | 351483 | 284171 | 1652807 | 112463 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-11-01 | 7301374 | 3828466 | 218939 | 407239 | 0 | 0 | 0 | 1134112 | 287286 | 57308 | 113093 | 0 | 126558 | 26144 | 0 | 62066 | [5 empty] | 0 | 486495 | 553668 | 356420 | 197248 | 1260670 | 78899 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2018-12-01 | 5745762 | 3003100 | 208027 | 405643 | 0 | 0 | 0 | 682534 | 253715 | 49747 | 97643 | 0 | 75003 | 14837 | 0 | 56360 | [5 empty] | 0 | 416236 | 482917 | 321018 | 161899 | 757537 | 70771 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-01-01 | 6248667 | 3629709 | 222775 | 421202 | 0 | 0 | 0 | 484198 | 263925 | 55886 | 105554 | 0 | 60895 | 21572 | 0 | 53837 | [5 empty] | 0 | 341945 | 587169 | 326358 | 260811 | 545093 | 51400 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-02-01 | 5832769 | 3264996 | 209124 | 395384 | 0 | 0 | 0 | 597453 | 254927 | 43422 | 87204 | 0 | 60345 | 16313 | 0 | 50658 | [5 empty] | 0 | 363265 | 489678 | 301948 | 187730 | 657798 | 68403 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-03-01 | 6331150 | 3345129 | 207872 | 391830 | 0 | 0 | 0 | 793174 | 242810 | 51330 | 107277 | 0 | 90434 | 27877 | 0 | 51807 | [5 empty] | 0 | 479638 | 541972 | 329756 | 212216 | 883608 | 70519 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-04-01 | 7724333 | 3897277 | 239709 | 416769 | 0 | 0 | 0 | 1267906 | 261684 | 54547 | 131475 | 0 | 128377 | 50411 | 0 | 74731 | [5 empty] | 0 | 545039 | 656408 | 354868 | 301540 | 1396283 | 91375 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-05-01 | 7840497 | 3553410 | 223486 | 408004 | 0 | 0 | 0 | 1567740 | 252730 | 60316 | 146843 | 0 | 168006 | 48567 | 0 | 75552 | [5 empty] | 0 | 650564 | 685279 | 332260 | 353019 | 1735746 | 102963 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-06-01 | 8048430 | 3274264 | 215214 | 385131 | 0 | 0 | 0 | 2054826 | 226595 | 65999 | 175675 | 0 | 204845 | 60310 | 0 | 75530 | [5 empty] | 0 | 554926 | 755115 | 242424 | 512691 | 2259671 | 90889 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-07-01 | 9301477 | 3802878 | 252456 | 452014 | 0 | 0 | 0 | 2356091 | 265538 | 83679 | 215366 | 0 | 249610 | 71160 | 0 | 101005 | [5 empty] | 0 | 586193 | 865487 | 260859 | 604628 | 2605701 | 74995 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-08-01 | 9116965 | 3220290 | 242645 | 422221 | 0 | 424725 | 0 | 2390328 | 252699 | 74912 | 170764 | 0 | 227597 | 54203 | 0 | 94217 | [5 empty] | 0 | 654976 | 887388 | 258945 | 628443 | 2617925 | 67653 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-09-01 | 9462055 | 3755080.2177 | 230045 | 402702 | 0 | 100551 | 59436 | 2310802.7823 | 249415 | 75384 | 160706 | 0 | 225882 | 44385 | 0 | 83764 | [5 empty] | 0 | 827293 | 936609 | 377836 | 558773 | 2536684.7823 | 115167 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-10-01 | 8322078 | 3512233.2047 | 253825 | 442513 | 0 | 113044 | 55451 | 1831017.7953 | 275324 | 63423 | 128778 | 0 | 187955 | 49676 | 0 | 85459 | [5 empty] | 0 | 573373 | 750006 | 348709 | 401297 | 2018972.7953 | 144704 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-11-01 | 6415073 | 3281818.6825 | 216193 | 367280 | 0 | 91082 | 59722 | 910263.3175 | 218913 | 48453 | 98766 | 0 | 102398 | 38563 | 0 | 44065 | [5 empty] | 0 | 451117 | 486439 | 283909 | 202530 | 1012661.3175 | 82531 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2019-12-01 | 5899084 | 3254720.8653 | 229842 | 390890 | 0 | 105592 | 59707 | 538670.1347 | 232536 | 46020 | 77558 | 0 | 73091 | 40146 | 0 | 39890 | [5 empty] | 0 | 325231 | 485190 | 280873 | 204317 | 611761.1347 | 48121 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-01-01 | 5768791 | 3078548.9209 | 236757 | 414212 | 0 | 135848 | 74925 | 514211.0791 | 258161 | 45705 | 85583 | 0 | 64772 | 41213 | 0 | 31253 | [5 empty] | 0 | 304301 | 483301 | 262219 | 221082 | 578983.0791 | 36605 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-02-01 | 5023807 | 2865741.7615 | 157931 | 298508 | 0 | 92910 | 51118 | 421075.2385 | 164814 | 38096 | 58743 | 0 | 50512 | 40527 | 0 | 10207 | [5 empty] | 0 | 305392 | 468232 | 208348 | 259884 | 471587.2385 | 42917 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-03-01 | 5824742 | 3080473.7575 | 230277 | 366209 | 0 | 127209 | 78486 | 672076.2425 | 226846 | 40647 | 51768 | 0 | 62594 | 53768 | 0 | 26680 | [5 empty] | 0 | 309551 | 498157 | 261289 | 236868 | 734670.2425 | 36608 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-04-01 | 5681721 | 2963980.07 | 186270 | 350090 | 0 | 107135.8 | 90793 | 719292.13 | 201132 | 48025 | 62887 | 0 | 78033 | 36680 | 0 | 33324 | [5 empty] | 0 | 327861 | 476218 | 231032 | 245186 | 797325.13 | 37869 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-05-01 | 7583231 | 3071782.2187 | 208650 | 384452 | 0 | 99522 | 97251 | 1805652.7813 | 223924 | 62443 | 84897 | 0 | 186627 | 63932 | 0 | 76640 | [5 empty] | 0 | 490579 | 726879 | 260510 | 466369 | 1992279.7813 | 192030 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-06-01 | 8954220 | 3648771.1997 | 228347 | 396101 | 0 | 109687 | 115327 | 2206132.8003 | 240416 | 78338 | 119344 | 0 | 225215 | 67302 | 0 | 93585 | [5 empty] | 0 | 456065 | 969589 | 291027 | 678562 | 2431347.8003 | 68497 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-07-01 | 8833132 | 3490262.45 | 228257 | 404540 | 0 | 110641 | 120796 | 2154407.55 | 231715 | 83182 | 140263 | 0 | 242508 | 88475 | 0 | 47947 | [5 empty] | 0 | 464378 | 1025760 | 265659 | 760101 | 2396915.55 | 62076 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-08-01 | 7931452 | 2706435.5335 | 197866 | 348726 | 0 | 107732 | 136811 | 2394486.4665 | 200857 | 76791 | 121644 | 0 | 229261 | 53605 | 0 | 45846 | [5 empty] | 0 | 481052 | 830339 | 232096 | 598243 | 2623747.4665 | 70639 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-09-01 | 9473248 | 4067167.6021 | 227234 | 401301 | 0 | 105161 | 145991 | 2048304.3979 | 250434 | 74921 | 130572 | 0 | 227888 | 53030 | 0 | 67681 | [5 empty] | 290330 | 456104 | 927129 | 303922 | 623207 | 2276192.3979 | 228211 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-10-01 | 7236358 | 3329580.045 | 211299 | 373141 | 0 | 104277.6 | 145355 | 1335753.355 | 232357 | 54482 | 100678 | 0 | 152364 | 47889 | 0 | 59602 | [5 empty] | 89769 | 412147 | 587664 | 267278 | 320386 | 1488117.355 | 90540 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-11-01 | 6770208 | 3423239.614 | 227410 | 396796 | 0 | 108587 | 177222 | 915177.386 | 234747 | 51126 | 81285 | 0 | 98770 | 37909 | 0 | 53349 | [5 empty] | 74036 | 365102 | 525452 | 293224 | 232228 | 1013947.386 | 68723 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2020-12-01 | 5773520 | 3075672.1965 | 200695 | 380382 | 0 | 97232 | 152820 | 506804.8035 | 232272 | 47403 | 48764 | 0 | 50904 | 62080 | 0 | 34551 | [5 empty] | 70802 | 303654 | 509484 | 259382 | 250102 | 557708.8035 | 59377 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-01-01 | 5701348 | 3020329.7757 | 206965 | 382076 | 0 | 147415 | 147739 | 393066.2243 | 223334 | 44857 | 48817 | 0 | 47672 | 30752 | 0 | 16074 | [5 empty] | 79942 | 325594 | 586715 | 249052 | 337663 | 440738.2243 | 62522 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-02-01 | 5426615 | 2958403.0368 | 170515 | 321055 | 0 | 102737 | 161735 | 528780.9632 | 197886 | 40970 | 42444 | 0 | 52226 | 26966 | 0 | 14515 | [5 empty] | 65365 | 319533 | 423484 | 237507 | 185977 | 581006.9632 | 62522 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-03-01 | 6796687 | 3625896.4016 | 213068 | 392798 | 0 | 119602 | 177452 | 785188.5984 | 242322 | 52128 | 54444 | 0 | 77337 | 34524 | 0 | 57884 | [5 empty] | 81956 | 357255 | 524832 | 288377 | 236455 | 862525.5984 | 59428 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-04-01 | 7087733 | 3510739.3848 | 201013 | 384122 | 0 | 106950 | 160888 | 1050938.6152 | 233551 | 52762 | 53047 | 0 | 122683 | 44705 | 3251 | 67675 | [5 empty] | 91645 | 449503 | 554260 | 282594 | 271666 | 1173621.6152 | 84036 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-05-01 | 8790715 | 3690093.1497 | 157781 | 367014 | 0 | 109455 | 167706 | 1964651.8503 | 209323 | 63649 | 77349 | 0 | 200723 | 47375 | 4531 | 94294 | [5 empty] | 117414 | 631202 | 888154 | 308231 | 579923 | 2165374.8503 | 108882 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-06-01 | 8497159 | 3315619.4601 | 201385 | 411370 | 0 | 113591 | 192254 | 2020738.5399 | 230711 | 64191 | 113132 | 0 | 228931 | 57454 | 5693 | 93048 | [5 empty] | 146373 | 491465 | 811203 | 275823 | 535380 | 2249669.5399 | 114411 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-07-01 | 8964920 | 3490827.4297 | 211130 | 392084 | 0 | 113461 | 192177 | 2299974.5703 | 217688 | 64138 | 116904 | 0 | 218297 | 56883 | 5581 | 95666 | [5 empty] | 151553 | 408611 | 929945 | 289890 | 640055 | 2518271.5703 | 81450 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-08-01 | 8816088 | 3689590.4115 | 220506 | 352448 | 0 | 132185 | 180103 | 2132948.5885 | 194063 | 60143 | 118510 | 0 | 200250 | 46263 | 5230 | 82541 | [5 empty] | 149677 | 397526 | 854104 | 293783 | 560321 | 2333198.5885 | 84180 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-09-01 | 9747181 | 3783050.7221 | 219215 | 429406 | 0 | 94590 | 181287 | 2283872.2779 | 257162 | 66269 | 118507 | 0 | 225009 | 54395 | 6632 | 100255 | [5 empty] | 203939 | 743567 | 980025 | 338691 | 641334 | 2508881.2779 | 110035 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-10-01 | 7852903 | 3164305.7347 | 199774 | 374048 | 0 | 112306 | 239951.182 | 1567023.0833 | 230083 | 61621 | 100243 | 0 | 172981 | 42197 | 4042 | 77042 | [5 empty] | 145097 | 674928 | 687261 | 302816 | 384445 | 1740004.0833 | 142617 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-11-01 | 7467307 | 3695906.9462 | 203833 | 432887 | 69324 | 109183 | 247373.444 | 935874.6098 | 272363 | 46745 | 69976 | 0 | 93801 | 30378 | 3462 | 57774 | [5 empty] | 122308 | 495186 | 580932 | 338679 | 242253 | 1029675.6098 | 83032 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2021-12-01 | 6220963 | 3182178.3548 | 188870 | 372696 | 51400 | 104736 | 229645.405 | 572406.2402 | 233281 | 41794 | 67881 | 0 | 63246 | 28037 | 2677 | 46306 | [5 empty] | 104824 | 405363 | 525622 | 304173 | 221449 | 635652.2402 | 77426 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-01-01 | 5719630 | 2842487.072 | 185403 | 344018 | 42810 | 92900 | 217019.988 | 502701.94 | 215329 | 38644 | 60492 | 0 | 47723 | 40907 | 2661 | 23332 | [5 empty] | 111988 | 439968 | 511246 | 258838 | 252408 | 550424.94 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-02-01 | 5973372 | 3167490.763 | 193713 | 357227 | 46410 | 105333 | 231947.367 | 353482.87 | 219454 | 37755 | 52974 | 0 | 40630 | 25565 | 1839 | 11847 | [5 empty] | 102478 | 374586 | 650640 | 261658 | 388982 | 394112.87 |  | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-03-01 | 6036375 | 2996940.232 | 176300 | 355006 | 47140 | 109266 | 215372.038 | 778373.73 | 211474 | 40293 | 58322 | 0 | 73854 | 24678 | 3000 | 11987 | [5 empty] | 111442 | 352459 | 470468 | 242578 | 227890 | 852227.73 | 63508 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-04-01 | 6614469 | 3105847.942 | 173413 | 338789 | 49364 | 123200 | 267931.478 | 1054668.58 | 202690 | 50830 | 57767 | 0 | 115979 | 22670 | 3000 | 24522 | [5 empty] | 110156 | 393679 | 519962 | 257203 | 262759 | 1170647.58 | 61090 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-05-01 | 7536144 | 3332646.63 | 186465 | 381972 | 66226 | 134268 | 257005.27 | 1500945.1 | 218112 | 47282 | 60742 | 0 | 128870 | 23250 | 9190 | 64674 | [5 empty] | 137154 | 386561 | 600781 | 291975 | 308806 | 1629815.1 | 63499 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-06-01 | 8743056 | 3343878.439 | 191180 | 373954 | 64920 | 135646 | 226258.951 | 2130901.61 | 216767 | 69729 | 131317 | 0 | 226263 | 47562 | 4513 | 74042 | [5 empty] | 200798 | 482838 | 822488 | 299799 | 522689 | 2357164.61 | 60911 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-07-01 | 8658648 | 2985191.169 | 180624 | 335327 | 66990 | 125766 | 239655.831 | 2485643 | 181196 | 67366 | 129521 | 0 | 222744 | 46061 | 6355 | 70476 | [5 empty] | 188600 | 460050 | 867082 | 274978 | 592104 | 2708387 | 64945 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-08-01 | 9488278 | 3657836.06 | 238816 | 389800 | 69480 | 141763 | 279749.7 | 2278104.24 | 202462 | 68389 | 127143 | 0 | 238990 | 58088 | 6748 | 78711 | [5 empty] | 200020 | 509485 | 942693 | 328477 | 614216 | 2517094.24 | 79973 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-09-01 | 9620380 | 3972223.63 | 182258 | 370600 | 70960 | 129726 | 279735.37 | 1988413 | 144397 | 59150 | 126966 | 0 | 209950 | 49648 | 14349 | 74107 | [5 empty] | 197340 | 792745 | 957812 | 371840 | 585972 | 2198363 | 128837 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-10-01 | 7608376 | 3026537.9649 | 201410 | 352020 | 62050 | 145774 | 275237.4744 | 1469216.2606 | 304172 | 47679 | 93814 | 0 | 143116 | 29278 | 7337.3 | 64072 | [5 empty] | 133610 | 595968 | 657084 | 337505 | 319579 | 1612332.2606 | 135269 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-11-01 | 8270405 | 3955547.486 | 261890 | 399870 | 73590 | 160396 | 274731.0216 | 1233452.4924 | 258047 | 56060 | 72060 | 0 | 130337 | 42146 | 6492 | 61394 | [5 empty] | 119820 | 509994 | 654578 | 378554 | 276024 | 1363789.4924 | 98952 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2022-12-01 | 6285639 | 3000351.5253 | 189301 | 364897 | 66390 | 207432 | 284045.8819 | 556257.5927 | 229681 | 44577 | 91252 | 0 | 47314 | 30935 | 3918 | 49088 | [5 empty] | 105310 | 408265 | 606624 | 330635 | 275989 | 603571.5927 | 79105 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-01-01 | 6116888 | 2907283 | 203969 | 366341 | 64380 | 206177 | 274256 | 556060 | 217300 | 39987 | 69190 | 0 | 45634 | 21361 | 3960 | 46743 |  |  | 0 | 0 | 120500 | 95650 | 318713 | 559384 | 291933 | 267451 | 601694 | 42482 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-02-01 | 6266442 | 3003711 | 199047 | 344682 | 59850 | 180898 | 266331 | 601288 | 228400 | 42292 | 66777 | 0 | 53805 | 25635 | 3751 | 32839 |  |  | 0 | 0 | 111300 | 97450 | 401557 | 546828 | 330857 | 215971 | 655093 | 66007 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-03-01 | 6828592 | 3087483 | 208188 | 371708 | 62330 | 161082 | 290893 | 869346 | 244523 | 53343 | 77615 | 0 | 87303 | 29052 | 4863 | 60432 |  |  | 0 | 0 | 128500 | 105840 | 422423 | 563668 | 362033 | 201635 | 956649 | 65226 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-04-01 | 6998355 | 2888262 | 203002 | 343942 | 60020 | 130668 | 296464 | 1134981 | 221077 | 51421 | 84792 | 0 | 105975 | 33207 | 5858 | 55411 |  |  | 0 | 0 | 171500 | 112930 | 505398 | 593447 | 334481 | 258966 | 1240956 | 98989 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-05-01 | 8625441 | 3325897 | 217017 | 395100 | 70780 | 134571 | 333422 | 1674901 | 246200 | 67214 | 129786 | 0 | 162347 | 34087 | 9007 | 69546 |  |  | 0 | 0 | 241758 | 158700 | 580251 | 774857 | 378813 | 396044 | 1837248 | 100765 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-06-01 | 9164894 | 3168628 | 196368 | 377740 | 69220 | 130018 | 325721 | 2088084 | 221800 | 56861 | 153093 | 0 | 185045 | 35804 | 11908 | 63058 |  |  | 0 | 0 | 309600 | 197740 | 654247 | 919959 | 338399 | 581560 | 2273129 | 122163 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-07-01 | 8395978 | 2247388 | 231950 | 401450 | 66610 | 124539 | 366511 | 2235244 | 230400 | 49612 | 149108 | 0 | 186865 | 43768 | 14113 | 67884 |  |  | 0 | 0 | 355700 | 191240 | 578961 | 854635 | 301258 | 553377 | 2422109 | 101445 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-08-01 | 10021052 | 3687850 | 212471 | 386230 | 63030 | 123688 | 315255 | 2261709 | 220600 | 63082 | 196791 | 0 | 245701 | 33881 | 12424 | 62895 |  |  | 0 | 0 | 355100 | 182220 | 574170 | 1023955 | 353508 | 670447 | 2507410 | 132118 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-09-01 | 9234983 | 3068198 | 210702 | 397330 | 60020 | 125072 | 309832 | 2087766 | 228100 | 48820 | 133636 | 0 | 172602 | 57403 | 8392 | 58131 |  |  | 0 | 37989 | 332800 | 174560 | 798145 | 925485 | 370944 | 554541 | 2260368 | 123050 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-10-01 | 8906994 | 3472720 | 209344 | 401070 | 60560 | 130293 | 330878 | 1682178 | 234800 | 54006 | 129915 | 0 | 161279 | 30563 | 6860 | 55225 |  |  | 0 | 37989 | 273600 | 141370 | 695080 | 799264 | 377527 | 421737 | 1843457 | 129469 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-11-01 | 7592642 | 3137873 | 209208 | 401387 | 61030 | 132665 | 335333 | 1145718 | 240600 | 52505 | 114445 | 0 | 110214 | 45235 | 6132 | 48733 |  |  | 0 | 37989 | 188800 | 116120 | 542826 | 665829 | 389105 | 276724 | 1255932 | 81480 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2023-12-01 | 6470056 | 2881577 | 187500 | 362093 | 58940 | 141268 | 297075 | 760035 | 205900 | 47269 | 92079 | 0 | 63014 | 26483 | 3860 | 40280 |  |  | 0 | 37989 | 157500 | 102910 | 423456 | 580828 | 332453 | 248375 | 823049 | 61721 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2024-01-01 | 6692267 | 3287729 | 208974 | 396860 | 58410 | 149803 | 338199 | 578170 | 227300 | 41306 | 88012 | 0 | 40751 | 27266 | 4854 | 43154 |  |  | 0 | 40620 | 142000 | 110960 | 290247 | 617652 | 349422 | 268230 | 618921 | 41708 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2024-02-01 | 6654580 | 3141372 | 237623 | 372509 | 58160 | 126061 | 326079 | 682091 | 216300 | 38954 | 71168 | 0 | 59396 | 28310 | 4703 | 39420 |  | 1879 | 0 | 59861 | 136800 | 90700 | 359002 | 604192 | 351548 | 252644 | 741487 | 58086 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2024-03-01 | 6611330 | 2763966 | 160809 | 367021 | 57060 | 139733 | 295189 | 921046 | 217900 | 42295 | 88712 | 0 | 72772 | 31071 | 4856 | 38008 |  | 5290 | 0 | 64137 | 190100 | 115360 | 416757 | 619248 | 350051 | 269197 | 993818 | 67798 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2024-04-01 | 9041985 | 3471953 | 222022 | 452750 | 70170 | 148209 | 383286 | 1608077 | 248500 | 48452 | 116672 | 0 | 116582 | 52517 | 6798 | 68967 |  | 7974 | 0 | 66275 | 273800 | 163640 | 674790 | 840552 | 399926 | 440626 | 1724659 | 94741 | 0 | 0 | 0 | 0 |  |  | 0 | 0
2024-05-01 | 8421191 | 3058697 | 207943 | 410970 | 62210 | 134017 | 334772 | 1626912 | 231500 | 42471 | 113551 | 0 | 101590 | 52658 | 7342 | 56046 |  | 10102 | 0 | 66275 | 278100 | 144060 | 712034 | 769941 | 380344 | 389597 | 1728502 | 107822 | 0 | 0 | 0 | 0 | 25801 |  | 0 | 0
2024-06-01 | 8666283 | 2717512 | 214754 | 396960 | 57110 | 127748 | 329649 | 2083326 | 211700 | 59734 | 167321 | 0 | 166930 | 44227 | 8040 | 63275 |  | 10738 | 0 | 64137 | 353300 | 169890 | 539097 | 880835 | 335002 | 545833 | 2250256 | 95744 | 0 | 0 | 0 | 0 | 13248 | 318 | 0 | 0
2024-07-01 | 10350803 | 3299350 | 312619 | 452350 | 57810 | 138033 | 365868 | 2536101 | 242000 | 49635 | 148622 | 0 | 146460 | 54600 | 11806 | 75700 |  | 12602 | 0 | 66275 | 407800 | 212120 | 696785 | 1064267 | 365544 | 698723 | 2682561 | 106600 | 69045 | 1329 | 0 | 0 | 11258 | 7737 | 0 | 0
2024-08-01 | 9800377 | 3045342 | 304855 | 430560 | 59070 | 135560 | 358699 | 2339192 | 245100 | 56920 | 181289 | 0 | 171979 | 54131 | 14358 | 66652 |  | 12862 | 0 | 66275 | 395600 | 180530 | 656280 | 1025123 | 369772 | 655351 | 2511171 | 84306 | 69331 | 1335 | 0 | 0 | 8509 | 17199 | 0 | 0
2024-09-01 | 10205357 |  | 339702 | 411230 | 59690 | 133432 | 360327 | 2259366 | 247100 | 52628 | 163882 | 0 | 166126 | 50830 | 11481 | 70316 |  | 15342 | 0 | 77142 | 395100 | 199630 | 847948 | 1057385 | 418704 | 638681 | 2425492 | 117909 | 92614 | 1782 | 0 | 0 | 9978 | 13862 | 0 | 0
2024-10-01 | 8850727 | 3180284 | 351255 | 410000 | 58020 | 124872 | 358234 | 1681166 | 251900 | 45340 | 117930 | 0 | 120288 | 41251 | 8886 | 57947 |  | 12002 | 0 | 77913 | 290300 | 125116 | 702498 | 835525 | 413057 | 422468 | 1801454 | 130326 | 113338 | 2182 | 0 | 0 | 10622 | 23633 | 0 | 0
2024-11-01 | 8264525 | 3359311 | 514384 | 386500 | 60720 | 119609 | 328006 | 1208974 | 241600 | 54146 | 116907 | 0 | 108966 | 51180 | 6866 | 46415 |  | 5447 | 0 | 77142 | 201885 | 128564 | 551175 | 696728 | 402470 | 294258 | 1317940 | 91888 | 249206 | 4797 | 0 | 0 | 9756 | 23715 | 0 | 0
2024-12-01 | 7242946 | 3126953 | 486932 | 439800 | 62370 | 182418 | 343029 | 668561 | 261300 | 39693 | 75231 | 0 | 47641 | 31724 | 6181 | 43619 |  | 9029 | 37973 | 77913 | 150315 | 110500 | 406820 | 634944 | 386220 | 248724 | 716202 | 61467 | 266004 | 5120 | 0 | 0 | 9486 | 14599 | 0 | 0
2025-01-01 | 6471482 | 2967005 | 447376 | 373437 | 49109 | 166280 | 280003 | 529555 | 214600 | 47528 | 83004 | 0 | 51613 | 29551 | 4790 | 36317 |  | 10237 | 28831 | 77913 | 151700 | 83133 | 259167 | 580333 | 369287 | 211046 | 581168 | 40980 | 225898 | 4348 | 0 | 0 | 9050 | 24617 | 0 | 0
2025-02-01 | 7133252 | 3122532 | 514438 | 416863 | 58261 | 195405 | 334235 | 522670 | 253800 | 46126 | 79071 | 0 | 48514 | 32530 | 6009 | 41318 |  | 10191 | 37593 | 71999 | 115200 | 111997 | 436049 | 678452 | 387630 | 290822 | 571184 | 57424 | 263978 | 5081 | 0 | 0 | 9360 | 15192 | 0 | 0
2025-03-01 | 7022454 | 2858148 | 472737 | 380900 | 50890 | 149557 | 316702 | 869960 | 224600 | 44236 | 76787 | 0 | 66365 | 30925 | 5523 | 42001 |  | 5290 | 21570 | 77142 | 185800 | 102130 | 403183 | 638008 | 377349 | 260659 | 936325 | 65639 | 245438 | 4724 | 0 | 0 | 11946 | 23174 | 0 | 0
2025-04-01 | 8751020 | 3603466.9 | 558983 | 428000 | 60460 | 150720 | 359483 | 1232583 | 256600 | 46949 | 86079.1 | 0 | 81173 | 36400 | 6874 | 54833 |  | 14747 | 21570 | 79713 | 221400 | 131620 | 544718 | 774648 | 427060 | 347588 | 1313756 | 75910 | 293058 | 5641 | 0 | 0 | 11196.33 | 28426.29 | 0 | 0
2025-05-01 | 9287018 | 3041240 | 520090 | 398200 | 61220 | 133326 | 366216 | 1887473 | 234700 | 57670 | 128987 | 0 | 145549 | 48118 | 10224 | 56468 |  | 35670 | 22289 | 79713 | 307200 | 159170 | 723374 | 870121 | 404853 | 465268 | 2033022 | 107059 | 283112 | 5449 | 0 | 0 | 14241.92 | 5518 | 0 | 0
2025-06-01 | 10004035 | 3282572 | 540933 | 403500 | 59310 | 132324 | 369127 | 2251997 | 231300 | 56296 | 128696 | 0 | 189802 | 51217 | 11935 | 68453 |  | 36406 | 21570 | 77142 | 347000 | 191950 | 591496 | 961009 | 375997 | 585012 | 2441799 | 96095 | 302479 | 5822 | 0 | 0 | 14634.33 | 41355 | 0 | 0
2025-07-01 | 10192458 | 2999218 | 534109 | 413100 | 66640 | 125053 | 357034 | 2504159 | 221700 | 68672 | 145108 | 0 | 265504 | 56223 | 15162 | 69381 |  | 29939 | 22289 | 79713 | 387200 | 197380 | 655026 | 979848 | 362265 | 617583 | 2769663 | 110338 | 300162 | 5778 | 0 | 25927.8 | 16928.69 | 29691 | 0 | 0
2025-08-01 | 10054427 | 3032319.38 | 538375 | 404500 | 76950 | 125905 | 350137 | 2414329 | 222500 | 77608 | 173834 | 0 | 300733 | 70093 | 13557 | 64657 | 6228 | 26544 | 23885.62 | 79709 | 348280 | 175870 | 581766 | 946647 | 378878 | 567769 | 2715062 | 91890 | 307814 | 5925 | 0 | 22631.2 | 16476.94 | 31194 | 0 | 0
2025-09-01 | 11331409 | 3760683 | 483822 | 440900 | 81980 | 132068 | 386828 | 2405351 | 243800 | 66523 | 142935 | 0 | 268527 | 80022 | 12799 | 72316 | 17858 | 35372 | 35948 | 145148 | 352640 | 205980 | 880103 | 1079806 | 437109 | 642697 | 2673878 | 141264 | 330549 | 6362 | 121900 | 15382 | 17662.49 | 15592 | 0 | 0
2025-10-01 | 9796105 | 3147885.9 | 504929 | 404500 | 82270 | 126782 | 359852 | 1957753 | 241000 | 70315 | 143945 | 0 | 251737 | 56142 | 11057 | 63511 | 17675 | 34877 | 54788 | 138274.1 | 300280 | 165910 | 777120 | 885502 | 417169 | 468333 | 2209490 | 138998 | 306911 | 5908 | 74466 | 6497.4 | 16020.28 | 24292 | 0 | 0
2025-11-01 | 7978764 | 3333008.3 | 500521 | 388197 | 75078 | 133398 | 341845 | 1020447 | 236053 | 50979 | 85990 | 0 | 105031 | 49795 | 5078 | 47584 | 18927 | 27839 | 44843.7 | 116174 | 179100 | 107311 | 465405 | 646160 | 402881 | 243279 | 1125478 | 77480 | 306060 | 5891 | 9262 | 8282.2 | 16717.57 | 47210 | 0 | 0
2025-12-01 | 8046008 | 3520853.9 | 584958 | 414803 | 86752 | 145603 | 353167 | 842964.1 | 253147 | 43259 | 81529 | 0 | 63573 | 39556 | 2864 | 45888 | 22453 | 30350 | 45023 | 150747 | 151900 | 113682 | 426201 | 626735 | 388825 | 237910 | 906537.1 | 61061 | 374372 | 7206 | 9784 | 973.4 | 18702.78 | 27110 | 0 | 0
2026-01-01 | 7308543 | 3219229 | 543221 | 418200 | 71330 | 170604 | 335356 | 620519 | 239400 | 56131 | 102592 | 0 | 56618 | 44806 | 1825 | 33942 | 24808 | 16871 | 38524 | 159687 | 144300 | 103340 | 286673 | 620567 | 338985 | 281582 | 677137 | 37428 | 347633 | 6691 | 3084 | 1321 | 18140.7 | 51800 | 0 | 0
2026-02-01 | 7053934 | 3046467.2 | 483759 | 339400 | 69110 | 127047 | 303408 | 762926.1 | 225600 | 50950 | 81167 | 0 | 57790 | 31457 | 1061 | 37880 | 32830 | 39696.7 | 33598 | 234192 | 126900 | 79940 | 329433 | 559322 | 320308 | 239014 | 820716.1 | 48095 | 297089 |  | 7887 | 1252 | 16858 | 43012 | 100000 | 0
2026-03-01 | 8470012 | 3439476.3 | 564806 | 460300 | 78120 | 135394 | 317680 | 1087049 | 257674 | 57348 | 79410 | 0 | 103510 | 41318 | 600 | 49608 | 40938 | 32665.7 | 37566 | 214226 | 178700 | 119300 | 483477 | 690846 | 442364 | 248482 | 1190559 | 57101 | 365474 |  | 23685 | 8255 | 20391 | 56770 | 0 | 200000000
2026-04-01 | 9717646 | 3637811 | 571275 | 432000 | 82230 | 129264 | 318714 | 1654219 | 256126 | 110678 | 118081 | 0 | 208610 | 39977 | 2940 | 53118 | 36586 | 38047 | 34567 | 204802 | 246200 | 142270 | 606652 | 793479 | 449653 | 343826 | 1862829 | 91416 | 364466 |  | 74223 | 16734 | 19485 | 41971 | 0 | 0
2026-05-01
2026-06-01
2023
2024
8250000
350000
Note on G1: CHONG, Kam Fai: APCF Switches 1-33
Note on H1: CHONG, Kam Fai: NDC All Switches
Note on I1: CHONG, Kam Fai: Include seawater pump
Note on J1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: New building
Note on N1: CHONG, Kam Fai: Include cooling tower
Note on Q1: CHONG, Kam Fai: SISC Switches 1-3
Note on T1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: EC-20 & EC-21
Note on W1: CHONG, Kam Fai: NewOP GGT 4A Switch
Note on X1: CHONG, Kam Fai: Excluding GRUCs consumptions
Note on Y1: CHONG, Kam Fai: From CLP LPT Group B
Note on AD1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: not included in student housing, need to add when talking about student housing Reply: Currently not included in the CLP total.
Note on AE1: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: HPC4 Reply: already included in EC data, no need to double count Reply: already part of CLP total
Note on K2: CHONG, Kam Fai: Waiting old data for revision
Note on N44: CHONG, Kam Fai: By interpolation
Note on G69: CHONG, Kam Fai: First Month in Operation
Note on Q69: CHONG, Kam Fai: First Month In Operation
Note on X93: CHAN, Joyce: UG9 reading is lost due to meter replacement. July consumption is used as a reference.
Note on H95: CHAN, Joyce: Data Hall Rm2113 consumption added
Note on AA146: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: CMO Electricity Excel Originally Put 287,750 as the value, but it contained no formula. It was corrected by subtracting the "Commercial Outlets" value from the "Staff Quarters & Commercial Outlets" value.